## Slide 1: Coverting Raw FPI Instrument Counts to Phase-space Density
MMS/FPI Ground Analysis
Working Group
1 August, 2013 Discussion

## Slide 2: Conversion Procedure By Mode
[counts]
[phase-space density]
BSC
BGSE
ηG[Ze,ESA], τconst
CSC
CGSE
de-spin corrected counts
same as Survey above
fGSE
ηG[Ze], τconst
CGSE
BGSE
fGSE
ηR, G
VSC(t)
de-spun &
summed
f
c
Label energy shells with:
E – qVSC(t)
Use the procedure from De-spin WP.
Remove both SC- & GSE-frame background cnts:
C[Ze]
C[Ze]
ηG[Ze] – (τconst/τint) C[Ze]
C[Ze,ESA]
C[Ze,ESA]
ηG[Ze,ESA] – (τconst/τint) C[Ze,ESA]
Survey Maps
Burst Maps
Fast
Slow
32 Az x 16 Ze x 32 En
Use “effective
smile”…
Use “per-sensor
smile”…
χ-1[En]
32 Az x 16 Ze x 32 En
or
16 Az x 16 Ze x 32 En
χ-1[En,ESA]
C[En]
χ-1[En] C[En]
C[En,ESA]
χ-1[En,ESA] C[En,ESA]
“effective ESA”
Use “per-sensor”…
Remainder of conversion procedure is common to all modes.

## Slide 3: Inputs to Conversion Procedure
ηG[Ze,ESA]
ηG[Ze]
BSC
ηR
BGSE
G
&
&
16-elt vector of efficiencies x 2 species x 4 s/c
16 x 8-elt matrix of efficiencies x 2 species x 4 s/c
32/16/8 x 16-elt matrices of counts x 2 species x 4 s/c,
covering both noisy-pixel-type & sunglint-type background
32/8 x 16 x 32-elt matrix of efficiencies x 2 species x 4 s/c,
& same for matrix of geometric factors x 2 species x 4 s/c.
Tables, cont’d…
1 file: 16 efficiencies, total: 2 x 4 = 8 files.
1 file: 16 x 8 efficiencies, total: 2 x 4 = 8 files.
1 file: background SCmap, total: 2 x 4 = 8 files.
1 file: background GSEmap, total: 2 x 4 = 8 files.
1 file: efficiency map, total: 2 x 4 = 8 files.
1 file: geometric factor map, total: 2 x 4 = 8 files.

## Slide 4: Inputs to Conversion Procedure
χ-1[En]
χ-1[En,ESA]
16 x 16 matrix of crosstalk coeffs
for each of 32 En-bins x 1 effective ESA x 2 species x 4 s/c
16 x 16 matrix of crosstalk coeffs
for each of 32 En-bins x 8 sensor’s ESA x 2 species x 4 s/c
VSC(t)
τint
τconst
&
scalar times x 2 species x 4 s/c
scalar s/c potential x 4 s/c
Tables
Scalar
parameters
1 file (32 16x16 matrices) for each of 8 ESAs,
plus one effective ESA  (8+1) x 2 x 4 = 72 files.
These 72 files contain 32 x 72 = 2,304 16x16 matrices.
Grand Total: 8+8 + 8+8 + 8+8 + 72 files = 120 files.
Grand Total: (2x2 + 1) x 4 parameters = 20 params.

## Slide 5: Inputs to Conversion Procedure
;
; eta_G [unitless]: Gain-related efficiencies (effective "smile function").
;
; See FPI De-Spin WP (MISdoc#: FPI-SCI-REF-0026) for more detail.
;
; Last modified: MPH, 20 Jun, 2013.
;
; Ze 0:15 of effective sensor function
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
eta_G_nominal_effective.txt
DES Tau_integ: 195 us
DIS Tau_integ: 1170 us
DES Tau_MCP: 150 ns
DIS Tau_MCP: 150 ns

## Slide 6: Inputs to Conversion Procedure
;
; eta_G [unitless]: Gain-related efficiencies (per-sensor "smile function").
;
; Note: For convenient de-spinning, ESAs traversed in S/C Az order.
;
; See FPI De-Spin WP (MISdoc#: FPI-SCI-REF-0026) for more detail.
;
; Last modified: MPH, 20 Jun, 2013.
;
; Ze 0:15 of Analyzer 1: Box 0, Head 1
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 2: Box 1, Head 0
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 3: Box 1, Head 1
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 4: Box 2, Head 0
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 5: Box 2, Head 1
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 6: Box 3, Head 0
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 7: Box 3, Head 1
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
;
; Ze 0:15 of Analyzer 0: Box 0, Head 0
--------------------------------------
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000 1.0000000
eta_G_nominal_perSensor.txt

## Slide 7: Inputs to Conversion Procedure
;
; Background [counts], Slow Survey S/C frame
; (e.g. time-stationary map of dark counts,
; deck interference and noisy pixels).
;
; Map structure is...
; Box0_Head0, Box0_Head1, ..., Box3_Head1 at Ze=00 [Zenith]
; " , " , ..., " at Ze=01
; " , " , ..., " at ...
; " , " , ..., " at Ze=15 [Nadir ]
;
; See FPI De-Spin WP (MISdoc#: FPI-SCI-REF-0026) for more detail.
;
; Last modified: MPH, 20 Jun, 2013.
;
; 8 ESA x 16 Ze for En 00
-------------------------
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
;
; 8 ESA x 16 Ze for En 01
-------------------------
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
…
Bkgnd_nominal_SS_S-Cfrm.txt

## Slide 8: Inputs to Conversion Procedure
;
; Background [counts], Slow Survey GSE frame
; (e.g. time-stationary map of penetrating radiation and Sun glint).
;
; Map structure is...
; Slow Survey AzSector#0, #1, ..., #15 at Ze=00 [Zenith]
; " " " #0, #1, ..., #15 at Ze=01
; " " " #0, #1 ..., #15 at ...
; " " " #0, #1, ..., #15 at Ze=15 [Nadir ]
;
; See FPI De-Spin WP (MISdoc#: FPI-SCI-REF-0026) for more detail.
;
; Last modified: MPH, 20 Jun, 2013.
;
; 16 Az x 16 Ze for En 00
-------------------------
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
;
; 16 Az x 16 Ze for En 01
-------------------------
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
…
Bkgnd_nominal_SS_GSEfrm.txt

## Slide 9: Inputs to Conversion Procedure
;
; Background [counts], Fast Survey S/C frame
; (e.g. time-stationary map of dark counts,
; deck interference and noisy pixels).
;
; Map structure is:
; Fast Survey FOV#00, #01, ..., #31 at Ze=00 [Zenith]
; " " " #00, #01, ..., #31 at Ze=01
; " " " #00, #01 ..., #31 at ...
; " " " #00, #01, ..., #31 at Ze=15 [Nadir ]
;
; Note: FOV#00 is Defl0 of Box0_Head1, [S/C Az 00]
; FOV#01 is Defl1 of " , [S/C Az 01]
; ... is ... of " , [ ... ]
; FOV#04 is Defl0 of Box1_Head0, [S/C Az 04]
; ... is ... of " , [ ... ]
; FOV#31 is Defl3 of Box0_Head0. [S/C Az 31]
;
; See FPI De-Spin WP (MISdoc#: FPI-SCI-REF-0026) for more detail.
;
; Last modified: MPH, 20 Jun, 2013.
;
; 32 Az x 16 Ze for En 00
-------------------------
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000 0.0000000
…
Bkgnd_nominal_FS_S-Cfrm.txt

## Slide 10: Questions and Actions
Is “effective smile” (by s/c) sufficiently similar to each “per-sensor smile”?
  Find if error is sufficiently small.
In the techniques proposed here we ignore anode crosstalk.
Can anode crosstalk be ignored in general?
  Compare f-recovery performance in w/ vs w/o anode crosstalk cases.