## Slide 1
Spacecraft Location

## Slide 2
Magnetic Field

## Slide 3: Raw PADs for Selected Times

## Slide 4: Smooth PADs for Selected Times

## Slide 5: PA-limited spectra for Selected Times

## Slide 6: Instrument Views in LM Coordinates

## Slide 7: Spacecraft Potential
ASPOC control of spacecraft potential keeps it below the lowest FPI bin
Spacecraft generated photoelectrons can be ignored

## Slide 8: Gyrotropy
Pressure tensor in DBCS
Eigenvalues indicate gyrotropy
i = (0.056, 0.069, 0.070)
Low energy counts show strong photoelectron influence
Seemed worrisome

## Slide 9: Corrections for Internal Photoelectrons